## Parts of the Microscope

## Magnification

Your microscope has 3 magnifications: Scanning, Low and High. Each objective will have written the magnification. In addition to this, the ocular lens (eyepiece) has a magnification. The total magnification is the ocular x objective

|  | Magnification | Ocular lens | Total Magnification |
| --- | --- | --- | --- |
| Scanning | 4x | 10x | 40x |
| Low Power | 10x | 10x | 100x |
| High Power | 40x | 10x | 400x |

## Focusing Specimens

1. Always start with the scanning objective. Odds are, you will be able to see something on this setting. Use the Coarse Knob to focus, image may be small at this magnification, but you won't be able to find it on the higher powers without this first step. Do not use stage clips, try moving the slide around until you find something.

2. Once you've focused on Scanning, switch to Low Power. Use the Coarse Knob to refocus. Again, if you haven't focused on this level, you will not be able to move to the next level.

3. Now switch to High Power. (If you have a thick slide, or a slide without a cover, do NOT use the high power objective). At this point, ONLY use the Fine Adjustment Knob to focus specimens.

4. If the specimen is too light or too dark, try adjusting the diaphragm.

5. If you see a line in your viewing field, try twisting the eyepiece, the line should move. That's because its a pointer, and is useful for pointing out things to your lab partner or teacher.